## Month Log
DAY OF THE MONTH | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
DAILY (initial or enter data)
Observe Animals
Current Temperature
High Temperature
Low Temperature
Check Feed and Water Bottles
Spot Change Cages
Lixit Test
Check Blower Units
TWICE WEEKLY
M T W TH F (circle)
Flush Autowater Racks
WEEKLY
Change Cages
Change Water Bottles
Sweep Floors
EVERY TWO WEEKS
Replace Extra Enrichment
Change/Clean Blower Prefilters
EVERY FOUR WEEKS
Change Feeder Trays

## Annual Log
| Jan | Feb | March | April | May | June | July | August | Sept | Oct | Nov | Dec
MONTHLY (initial and date)
Relative Humidity %
Check Light Timers
Sanitize Food Container
Sweep and Sanitize Floor
Provide Census to ULAR
Verify Alarm Backup Battery
EVERY 6 MONTHS (initial and date twice per year) | bar: Jan to April
Change Cage Lids
Clean HVAC Grill/Filter
Sanitize Racks
Verify Alarm System
Sanitize Room